## Slide 1: Q & A
Greater NY APIC Chapter 13
Sue Stone RN BSN CIC Memorial Sloan Kettering Hospital May 16, 2018

## Slide 2: The IP is notified of a positive Legionella test in an individual who has resided in the healthcare facility for 2 months. Which of the following are potential sources of Legionella that should be investigated?
Cooling towers
IV solutions
Air conditioners
Ice machine
  1, 4
  1, 3
  3, 4
  2, 4

## Slide 3: The IP is notified of a positive Legionella test in an individual who has resided in the healthcare facility for 2 months. Which of the following are potential sources of Legionella that should be investigated?
Cooling towers
IV solutions
Air conditioners
Ice machine
  1, 4
  1, 3
  3, 4
  2, 4

## Slide 4
L. Pneumophila is a common cause of both community-acquired and healthcare-associated pneumonia. Clinical manifestations are nonspecific, but high fever, diarrhea, and hypernatremia are common. Infection has been linked to drinking water distribution systems of acute care and extended care facilities. When a patient receives a diagnosis of healthcare-associated Legionnaires’ disease, culturing of the water sources to which the patient was exposed is indicated. Distal sites include water faucets, ice machines, water used in respiratory tract devices, and water sources to which the patient is exposed. Air conditioners have not been been implicated in Legionnaires’ disease. IV solutions are not known to be sources of Legionella infections.
Infection Preventionist’s Guide to the Lab. (APIC, 2012)

## Slide 5: A patient with a positive HBsAg must be dialyzed. Which of the following are the best measures to prevent transmission of disease?
Perform treatment in a separate room or area
Use a dedicated machine and equipment
Perform treatment at the end of the day
Schedule the treatment on a separate day with other positive HBsAg patients
  1, 2
  2, 4
  3, 4
  1, 3

## Slide 6: A patient with a positive HBsAg must be dialyzed. Which of the following are the best measures to prevent transmission of disease?
Perform treatment in a separate room or area
Use a dedicated machine and equipment
Perform treatment at the end of the day
Schedule the treatment on a separate day with other positive HBsAg patients
  1, 2
  2, 4
  3, 4
  1, 3

## Slide 7
The CDC recommends separating HBsAg patients by room or area and using a separate, dedicated machine and equipment to reduce the risk of transmission of HBV in the dialysis setting. Patients who are known to be positive for HBsAg should be excluded

## Slide 8: Which of the following environmental infection prevention measures are recommended for inpatient units that house hematopoietic stem cell transplant (HSCT) patients?
Providing sterile linens
Prohibiting live plants and dried or fresh flowers in the rooms of HSCT patients
Avoiding items that collect or trap dust
Providing laminar air flow
  1, 2
  3, 4
  2, 3
  1, 3

## Slide 9: Which of the following environmental infection prevention measures are recommended for inpatient units that house hematopoietic stem cell transplant (HSCT) patients?
Providing sterile linens
Prohibiting live plants and dried or fresh flowers in the rooms of HSCT patients
Avoiding items that collect or trap dust
Providing laminar air flow
  1, 2
  3, 4
  2, 3
  1, 3

## Slide 10
Infectious complications are common occurrence among patients receiving HSCT. Preventative measures should emphasize provision of a protective environment, appropriate use of prophylactic anti-infective agents, and meticulous attention to infective prevention practices, such as hand hygiene, device management, and the regulation of visitors. Furnishings and fixtures in patient rooms should be easy to clean, and items that trap of collect dust should be avoided. Flowers/ plants or their potting materials may harbor large numbers of Aspergillus spores and other microorganisms and should be restricted from the patient environment.
APIC Text, Chapter 46- HSCT

## Slide 11: As a time-saving measure, hospital administrators in your facility have suggested that endocavitary probes do not need to undergo high-level disinfection because they are used with probe covers. How would you respond to this suggestion?
Agree, because the probe cover prevents contact with mucous membranes and non-intact skin
Disagree, because the probe covers are not 100 percent reliable
Agree, because even without covers the probes don’t contact mucous membranes and non- intact skin during use
Disagree, because switching from high-level disinfection to low-level disinfection will not save time

## Slide 12: As a time-saving measure, hospital administrators in your facility have suggested that endocavitary probes do not need to undergo high-level disinfection because they are used with probe covers. How would you respond to this suggestion?
Agree, because the probe cover prevents contact with mucous membranes and non-intact skin
Disagree, because the probe covers are not 100 percent reliable
Agree, because even without covers the probes don’t contact mucous membranes and non- intact skin during use
Disagree, because switching from high-level disinfection to low-level disinfection will not save time

## Slide 13
Any patient care items that come in contact with mucous membranes and non-intact skin must undergo high-level disinfection. While probe covers are used for endocavity probes like vaginal probes, the probe covers are prone to perforation before and during use, which can lead to contamination of the probe during the procedure.
CDC guideline for Disinfection and Sterilization in Healthcare Facilities, 2008, page 19.

## Slide 14: Which of the following recommendations should be made to reduce the risk of infection from sinks in the patient care areas?
Sink basins should be deep enough to prevent splashing of water onto nearby patient care items
Sink faucets should be located such that the flow of water hits the drain directly
Sinks should be placed within two feet of the point of care to encourage frequent hand hygiene
Aerators should be installed on faucets to minimize the amount of splash in the sink

## Slide 15: Which of the following recommendations should be made to reduce the risk of infection from sinks in the patient care areas?
Sink basins should be deep enough to prevent splashing of water onto nearby patient care items
Sink faucets should be located such that the flow of water hits the drain directly
Sinks should be placed within two feet of the point of care to encourage frequent hand hygiene
Aerators should be installed on faucets to minimize the amount of splash in the sink

## Slide 16
Sink placement and design have been implicated in several outbreaks of healthcare-associated infections. Sinks should be far enough away from patients and patient care areas to prevent splashing of water onto these areas. The sink basin should be deep enough to help prevent this splashing and the stream of water should not be directed immediately over the drain because of the potential for aerosolization of microbes that can contaminate the drain. Use of aerators should be discouraged because of the potential for biofilm development.
APIC Text, 4th Ed, Chapter 115

## Slide 17: There was contamination of a healthcare facility’s potable water system with sewer water and there is high concern for the presence of Cryptosporidium. Which of the following should you recommend for corrective decontamination of the system?
Use chlorination to disinfect the system
Use high-temperature flushing to disinfect the system
Use fluoridation to flush the system
Use ultraviolet light to flush the system

## Slide 18: There was contamination of a healthcare facility’s potable water system with sewer water and there is high concern for the presence of Cryptosporidium. Which of the following should you recommend for corrective decontamination of the system?
Use chlorination to disinfect the system
Use high-temperature flushing to disinfect the system
Use fluoridation to flush the system
Use ultraviolet light to flush the system

## Slide 19
If there is contamination of the potable water system with sewer water in a facility then it is necessary to flush the system. A variety of methods can be used to accomplish this and they may be used in combination, if necessary. As Cryptosporidium is highly resistant to chlorine and there is suspected contamination with this protozoa in this scenario, you would have to minimally recommend the use of high-temperature flushing to disinfect the system.
CDC guidelines for Environmental Infection Control in Health-Care Facilities, 2003

## Slide 20: A major hurricane is forecast for your area and you need to plan for the possible contamination of potable water that is supplied to your facility. Which of the following should be included in your planning?
You should have at least one day’s worth of back up water supplies available
You will need one liter per day of drinking water for all patients and healthcare workers
All back up water must be stored on site for easy access
You will need at least 25 gallons of water per patient per day to maintain care

## Slide 21: A major hurricane is forecast for your area and you need to plan for the possible contamination of potable water that is supplied to your facility. Which of the following should be included in your planning?
You should have at least one day’s worth of back up water supplies available
You will need one liter per day of drinking water for all patients and healthcare workers
All back up water must be stored on site for easy access
You will need at least 25 gallons of water per patient per day to maintain care

## Slide 22
In the event of a disaster, it is critical to ensure that there is a reliable supply of water available for drinking and for patient care activities. Individuals in the facility will need at least 2 liters of drinking water per day per person, and additional water will be needed for bathing flushing toilets, dialysis, cooking, and other activities. It is estimated that a facility will need 25 gallons of water per patient per day to maintain these patient care activities. Water may be stored on-site or off-site but it must be accessible in the event of an emergency.
APIC Text, Chapter 119- Emergency Management

## Slide 23: A patient has been diagnosed with Legionnaires’ disease that was possibly acquired during his stay in the hospital. What is the recommended first response to this incident?
All water sites in the healthcare facility to which the patient was exposed should be cultured for L. pneumophila
The patient should be placed on respiratory isolation until 24 hours after treatment has started
The water system should be superheated and flushed immediately
All patients should immediately be provided with bottled water for drinking

## Slide 24: A patient has been diagnosed with Legionnaires’ disease that was possibly acquired during his stay in the hospital. What is the recommended first response to this incident?
All water sites in the healthcare facility to which the patient was exposed should be cultured for L. pneumophila
The patient should be placed on respiratory isolation until 24 hours after treatment has started
The water system should be superheated and flushed immediately
All patients should immediately be provided with bottled water for drinking

## Slide 25
If there is suspicion of healthcare-associated L. pneumophila, the water system should be tested first to determine whether the microbe is present.
APIC Text: Chapter 84 Legionella and Chapter 115 Water Systems Issues…..