## Slide 1: NYC APIC Monthly Meeting Questions and Answers
January 18, 2017
Lenox Hill Hospital

## Slide 2: 3M.com/IPED a free resource for RNs - CEs presented as webinars.
By Joyce Ianniciello

## Slide 3: Agents and methods used to sterilize or disinfect are segregated into three tiers. Which of the following statement is NOT accurate regarding these categories?
A. Low-level agents, such as Iodophors, kill most bacteria and fungi, but not viruses.
B. Alcohol is an intermediate disinfectant that does not kill or inactivate spores.
C. Hydrogen peroxide is an example of a high-level disinfectant.
D. High disinfectants may not eradicate high concentrations of bacterial spores.

## Slide 4
Answer is A: Low-level agents, such as Iodophors, kill most bacteria and fungi, but not viruses
Rationale: Hospitals seeking to fulfill OSHA regulations for prevention of illnesses spread by bloodborne pathogenic microbes employ intermediate-level agents for disinfection, particularly in critical areas such as the emergency department, surgical suites (and related-use areas as in pre- and post-op recovery), and laboratories. Iodophors are examples of low-tier agents that kill most bacteria but may not kill certain strains of fungi or viruses. Their lack of activity against resistant microbial strains and spores makes use of more effective agents imperative, especially in higher risk areas. A greater range of microbial kill or inactivation is seen with intermediate agents such as alcohol and sodium hypochlorite (bleach). This broader kill or inactivation range extends to vegetative organisms such as M. tuberculosis, viruses such as HBV and HIV, and fungi. High-level disinfectants additionally kill most bacterial, viral, and fungal strains, but may not fully eradicate areas, equipment, or surfaces contaminated by high concentrations of bacterial spores.
CBIC review questions

## Slide 5: Which of the following actions is NOT considered an effective infection control strategy in surgical environments?
A. Preferential use of flash sterilization
B. 15 or more air exchanges hourly
C. Hallways and nearby areas ventilated with positive pressure
D. Wet-vacuum mechanical cleaning of surgical suites at end of day

## Slide 6
Answer A. Preferential use of flash sterilization
Rationale: Surgical suite infection control practices must be known, assessed, and regularly revised to improve outcome measures. Routine sterilization procedures are preferable to flash sterilization, which may be incomplete because of inadequate pre-cleaning, timing, or temperature considerations. Air exchange is also important, with at least 15 hourly air exchanges recommended, of which at least three should be using fresh air. Horizontal laminar air flow, air filtering, and positive pressure ventilation of hallways and areas adjacent to the surgical theatres should also be employed. Mechanical cleaning should be considered essential to proper post-cleaning sterilization and should include daily wet vacuuming after the last procedure has been performed.

## Slide 7: The Major Source of Contamination in the OR is:
The patient
Inadequate temperature, humidity and ventilation controls
Instruments
The Surgical Team

## Slide 8
D. The Surgical Team
Rationale: in the OR, the surgical Team is the most common source of transmission of infection, followed by contaminated instruments Ref: Berry & Kohn’s (2007 11, ed)p 252
AORN Recommended Practices 2016:
Guideline for Sterile Technique
Recommendation I: Perioperative personnel should implement practices that reduce the spread of transmissible infections when preparing or working in the OR or invasive procedure room and when performing or assisting with operative or other invasive procedures

## Slide 9: The Bowie-Dick Test is performed daily in pre-vacuum sterilizers. The purpose of this test is to:
A. Measure the efficacy of the vacuum system
B. Ensure all residual moisture is removed
C. Ensure temperature levels are reached
D. Demonstrate bacterial kill

## Slide 10
A. Measure the efficacy of the vacuum system
Rationale: The presence of residual air in a prevacuum sterilizer prevents steam contact with items in the load, thus hampering sterilization. The Bowie-Dick test does not measure moisture levels and this test does not indicate sterilization.
Competency for safe patient care (2009) p 441

## Slide 11: Bowie-Dick test is done to test the efficacy of the vacuum system in a sterilizer.
This test should be performed at what interval?
Daily
Weekly
Monthly
When an air leak is detected

## Slide 12
AORN Guidelines 2016
Recommendation XX
XX.h.2. Dynamic air-removal steam sterilizers: A Bowie-Dick air-removal test should be performed daily in an empty chamber as follows:
A Bowie-Dick air-removal test should be performed each day that the sterilizer is used and should be performed before the first load of the day but after a warm-up cycle is run.
A warm-up cycle should be run so that Bowie-Dick testing is performed under the conditions in which the sterilizer will be used.
The test should be run in accordance with the test manufacturer’s instructions before the routine biological indicator testing.
Whenever a dynamic air-removal sterilizer is installed or relocated, malfunctions, undergoes a major repair, or has a sterilization process failure, three consecutive cycles in an empty chamber should be tested with a biological indicator PCD followed by three consecutive cycles in an empty chamber with a Bowie-Dick air-removal test.6
The air-removal test is designed to detect residual air in the sterilizer chamber.

## Slide 13: Chemical Indicators are designed to show that:
Packages are sterile
The sterilizer functioned appropriately
One or more critical parameters for sterilization have
been met
D. Appropriate spores have been killed

## Slide 14
C. One or more critical parameters for sterilization have been met
Rationale: Chemical Indicators are used to detect failures in packaging, loading, or sterilizer function, such as the presence of cool air pockets inside the sterilizer chamber.
Alexander’s (2011, 14 th ed) pg 74

## Slide 15: AORN Guidelines 2016 Recommendation XX
Chemical indicators specific to the sterilization method selected should be used with each package.2
Chemical indicators are used to verify that one or more of the conditions necessary for sterilization have been achieved within each package. External and internal CIs do not verify sterility of the contents.3,4
V.a. A CI should be placed on the outside and inside of every package to be processed unless the internal indicator is readable through the package material.3,4 [1: Strong Evidence]
External CIs are used to verify that the package has been exposed to the sterilization process. External indicators are intended to differentiate processed packages from unprocessed packages.
Internal CIs are used to verify that the sterilant has reached the contents of the package and that critical variables of the sterilization process have been met. The number of critical process variables that are monitored with an internal indicator is dependent on the specific type of internal indicator that is used.

## Slide 16
  V.a.1. A class I CI (ie, process indicator) should be placed externally. Examples of process indicators are indicator tape and indicator labels.
  V.a.2. A class III CI (ie, single-parameter indicator), class IV CI (ie, multiparameter indicator), class V CI (ie, integrating indicator), or class VI CI (ie, emulating indicator) should be placed internally.
  V.a.3. More than one CI may be required for multilayered trays and should be placed according to the tray manufacturer’s IFU.
  V.a.4. The CI manufacturer’s written instructions for storage, use, and expiration date should be followed.3
V.b. Chemical indicators should be placed in an area within the package that presents a challenge for air removal and sterilant contact. When there is a question concerning the appropriate number and placement of internal CIs, the CI manufacturer, the device manufacturer, and the containment device manufacturer should be consulted for additional information.2,3 [3: Limited Evidence]
The number and placement of internal CIs may be affected by the contents of the package, the configuration of the items within the set, and the packaging or containment device.

## Slide 17
Thank You